## Slide 1
Cancerous
Non-cancerous
B-frame slice
B-frame slice
Texture
Texture
200x100
100x100
12 Patients
Avg: 62.6 years
Min: 33 years
Max: 78 years
Training Set
Train the CNNs with 20% validation split.
Testing Set
Assess how well the CNNs generalize to unseen data.
Segmentation Set
Apply the model to mixed cancer and non-cancer samples.
7
4
1
16 non-cancer
18 cancer
5,831 examples
1,610 examples
4
3
5 non-cancer
5 cancer
2
2
`
2,048 A-lines
256 Frames
2,048 Pixels
*
OCT Sample
*
A
B
3x3 filters, same padding, ReLu in intermediate layers, softmax in final layer
2x2x256
3x3x256
12x12
128
64
50x50
32
100x100
1024
64
2
16
2x2
32
3x3
32
12x12
32
50x50
64
2
200x100
100x100
B-frame Slices CNN
64
128
2
Texture CNN
P(Cancer)
P(Non-cancer)
Flatten
2D convolution*
Max pooling followed by 2D convolution**
Fully connected with dropout
Concatenation
Grad-CAM layer
* unstrided ** stride length 2 along the down-sampled dimension(s)
Chart: Accuracy over Training Epochs
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
B-frame Slices Training | 0.54524 | 0.59691 | 0.6205 | 0.68632 | 0.74207 | 0.8066 | 0.84284 | 0.86792 | 0.89322 | 0.89322 | 0.89473 | 0.9003 | 0.90502 | 0.90545 | 0.9063 | 0.90973 | 0.90909 | 0.91359 | 0.91552 | 0.91402 | 0.92024 | 0.91852 | 0.92346 | 0.92346 | 0.92196 | 0.9241 | 0.92131 | 0.92539 | 0.92839 | 0.9256 | 0.93225 | 0.92646 | 0.92646 | 0.92817 | 0.92453 | 0.92624 | 0.93096 | 0.92367 | 0.93782 | 0.9301 | 0.93396 | 0.92753 | 0.9331 | 0.93353
B-frame Slices Validation | 0.57326 | 0.58012 | 0.67952 | 0.73779 | 0.73179 | 0.87404 | 0.91174 | 0.8389 | 0.92888 | 0.92802 | 0.90488 | 0.92631 | 0.87918 | 0.89717 | 0.92888 | 0.88175 | 0.93573 | 0.86632 | 0.94173 | 0.94173 | 0.93573 | 0.94944 | 0.94173 | 0.95201 | 0.94173 | 0.91945 | 0.9443 | 0.95201 | 0.95458 | 0.95201 | 0.95116 | 0.9443 | 0.93145 | 0.93573 | 0.94259 | 0.94773 | 0.93745 | 0.94687 | 0.91003 | 0.94773 | 0.94173 | 0.95373 | 0.94944 | 0.92288
Texture Training | 0.64065 | 0.85527 | 0.95755 | 0.96098 | 0.96269 | 0.96548 | 0.9672 | 0.96891 | 0.96805 | 0.96977 | 0.96998 | 0.97277 | 0.97063 | 0.97063 | 0.97341 | 0.97105 | 0.97277 | 0.97513 | 0.97341 | 0.97663 | 0.97663 | 0.97556 | 0.97577 | 0.97706 | 0.97813 | 0.9777 | 0.97856 | 0.97792 | 0.98027 | 0.98092 | 0.97877 | 0.98049 | 0.98113 | 0.98113 | 0.98027 | 0.9807 | 0.98242 | 0.98156 | 0.98242 | 0.98328 | 0.98263 | 0.98306 | 0.98349 | 0.98628 | 0.98563 | 0.98435 | 0.98456 | 0.98563 | 0.98435 | 0.98542
Texture Validation | 0.70437 | 0.95716 | 0.96315 | 0.96144 | 0.96572 | 0.96829 | 0.96829 | 0.96829 | 0.97087 | 0.96744 | 0.97258 | 0.97258 | 0.97258 | 0.97344 | 0.97258 | 0.97258 | 0.97429 | 0.97258 | 0.97601 | 0.97172 | 0.97686 | 0.97515 | 0.97601 | 0.97515 | 0.97515 | 0.97686 | 0.97515 | 0.97858 | 0.97601 | 0.97858 | 0.98029 | 0.98115 | 0.97943 | 0.98029 | 0.98115 | 0.98115 | 0.98629 | 0.97943 | 0.98286 | 0.98201 | 0.98372 | 0.98029 | 0.98029 | 0.98543 | 0.98372 | 0.98629 | 0.98458 | 0.98629 | 0.98458 | 0.98543
Ensemble Training | 0.9702 | 0.98242 | 0.98178 | 0.98242 | 0.98328 | 0.9837 | 0.9822 | 0.98349 | 0.98328 | 0.98328 | 0.9837 | 0.98349 | 0.98499 | 0.98456 | 0.98413 | 0.98456 | 0.98456 | 0.98435 | 0.98435 | 0.98478 | 0.98456 | 0.98499 | 0.98499 | 0.98435 | 0.98521 | 0.98542 | 0.98563 | 0.98499 | 0.98521 | 0.98499 | 0.98585 | 0.98563 | 0.98499 | 0.98628 | 0.98521 | 0.98478 | 0.98585 | 0.98563 | 0.98606 | 0.98628 | 0.98585 | 0.98542 | 0.98521
Ensemble Validation | 0.98458 | 0.98543 | 0.98715 | 0.98458 | 0.98629 | 0.98715 | 0.98715 | 0.98715 | 0.988 | 0.988 | 0.98886 | 0.98715 | 0.98715 | 0.98629 | 0.98886 | 0.98629 | 0.988 | 0.98886 | 0.98972 | 0.988 | 0.98715 | 0.98886 | 0.988 | 0.98886 | 0.98886 | 0.988 | 0.988 | 0.99143 | 0.98972 | 0.98972 | 0.98886 | 0.99057 | 0.988 | 0.98886 | 0.98972 | 0.98972 | 0.98886 | 0.98972 | 0.99057 | 0.98972 | 0.98886 | 0.98886 | 0.98886
A
Positive
Negative
True
False
Higher Weight
Lower Weight
Model | Mean Accuracy | Standard Deviation | B-frame Slices | Texture | Sub-optimal Texture
Ensemble | 94.90% | 0.11% | t=132.21, F=23.44 | t=-0.39, F=1.81 | --
B-frame Slices | 85.01% | 0.52% | -- | t=-130.21, F=12.94 | --
Texture | 94.91% | 0.14% | t=130.21, F=12.94 | -- | --
Sub-optimal Ensemble | 90.03% | 0.17% | t=65.11, F=9.38 | -- | t=26.40, F=5.68
Sub-optimal Texture | 88.39% | 0.41% | -- | t=-107.26, F=7.91 | --
# samples
3x3
2x2
Cancer
B
C
Non-Cancer
10
0
5.5
1
0.5
0
Cancer
Non-Cancer